# How to install Security “A” and Security “B” key for Z SCORE DLL

To obtain the Security “A” Key:

- You must first purchase the 2 Channel or 4 Channel Live Z Score DLL

(You will then receive a BrainMaster passkey enabling the use of Live Z Score training and use).  Log in with passkey which includes the Z Score DLL.

- First install the latest BrainMaster software (2.5SE or 3.0.9 or above) then open the Brainmaster software by clicking on the Brainmaster icon

- Click on “Folder Selections”

- Select “Test” Folder

- Click “View or Change Settings”

- Click on “Data Channels”

- Select channels 2 or 4    (dependent upon which license you purchased; 2 or 4 channel Z Score DLL)

- Click “Electrode and Trainee info” found at bottom of screen

- Enter any age in box indicated.  (Note:-- you must place an age in the box designated to use Z Score. Zero “0” in the age setting box is programmed to turn OFF the Z Score training)

- Enter any electrode sites (found at top of screen) into designated pulldown(s); however note that each Active site must have a unique site selected.

- Click “OK”; Click “OK” again;

- Click “Use These Settings” found at bottom of Set Up Options Page

- Click “Run Next Session

- Click “GO”

- Click “I Accept” on license

- Screen will pop up the BrainMaster Security “A” Key

- E-mail the “A” key to qeeg@appliedneuroscience.com at ANI (Applied Neuroscience Inc.  – Dr. Robert Thatcher) and let them know that you are ready for your

ANI “B” key.   Visit: www.appliedneuroscience.com)

- Close program

- Applied NeuroScience Inc. will email back to you the ANI Security “B” key

- Open Brainmaster software; Click “Folder Selections”; select “Test” Folder

- Click “Run Next Session”; Click “Go”; Click “I Accept” on License; then type in

ANI “B Key” where indicated.  Z Score DLL is now installed.

Insure that letters and numbers are transferred carefully and correctly.  Letters should be typed in Upper Case

The letter I  is indicated with a horizontal line on top and bottom  of the vertical line.  The letter O is plain without a line from top to bottom.  0 or  the number 0 shows a line from top to bottom.

It is best when sending the A-key to ANI to specify if a 4-character grouping contains a zero or a letter “O” with a comment after the A-key.

# Text boxes

Also note: Complete instructions may be found under Product Manual on the Setup Home Screen in the 2.5SE  OR

3.0 BrainMaster software CD. Or go to www.brainmaster.com

Select “Online Knowledge

Base/FAQ”

See “Browse by Category

Type in “Z Score Training”

Select “Live Z Score with the ANI DLL Training”

Click on technical information link:

http://www.brainm.com/software/3.0/Z%20score%20Training.pdf       or

Go to Attached Files   and    Click “Z Score Training.pdf”